## Estimate
COMPANY: Build Up Estimation
E-MAIL ADDRESS: ryanjordan968@gmail.com
PHONE NUMBER: 833-859-0040
| S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT COST (Material Only) | TOTAL COST
1 |  |  | 10000 | DIVISION 01-GENERAL REQUIREMENTS
2 | 1 |  |  | Mobilization and demobilization requirements | 1 | 0% | 1 | LS | 0 | 0
3 | 2 |  |  | Project management job site supervision | 1 | 0% | 1 | LS | 0 | 0
4 | 3 |  |  | Travel Allowance | 1 | 0% | 1 | LS | 0 | 0
5 | 4 |  |  | Temporary facilities: (includes office, toilet, water, electricity shed etc.) | 1 | 0% | 1 | LS | 0 | 0
7 | 5 |  |  | Equipment and tools renting | 1 | 0% | 1 | LS | 0 | 0
| 6 |  |  | Temporary Barricade (Temporary fence and screens) | 1 | 0% | 1 | LS | 0 | 0
| 7 |  |  | Daily project work & Clean-up | 1 | 0% | 1 | LS | 0 | 0
8 | 8 |  |  | Final job site cleaning | 1 | 0% | 1 | LS | 0 | 0
Please adjust General Conditions per your requirements
9 |  |  |  | Subtotal | [5 empty] | 0
78 |  |  | 230000 | DIVISION-23 HVAC
Louvers & FSD
| 9 |  |  | (14x12) Louver L1 Manuf.: Ruskins Model: ELF7375DXD | 1 | 0% | 1 | EA | 750 | 750
| 10 |  |  | (24x14) Louver L2 Manuf.: Ruskins Model: ELF7375DXD | 23 | 0% | 23 | EA | 905 | 20815
| 11 |  |  | (36x20) Louver L3 Manuf.: Ruskins Model: ELF7375DXD | 11 | 0% | 11 | EA | 1150 | 12650
| 12 |  |  | Fire smoke damper | 35 | 0% | 35 | EA | 1030 | 36050
VRF Units
| 13 |  |  | VRF Units Interior Air Handling Unit = 24 EA Air Cooled Condensing unit ACCU = 8 EA | 1 | 0% | 1 | LS | 286791 | 286791
Fans & Heaters
| 14 |  |  | Electric Unit Heater WEH-1 Manuf.: Berko CUH 935 | 11 | 0% | 11 | EA | 3523 | 38753
| 15 |  |  | Electric Unit Heater EUH-1 Manuf.: Berko HUH-1048 | 1 | 0% | 1 | EA | 1693 | 1693
| 16 |  |  | EUH-2 (No detail Given) | 1 | 0% | 1 | EA | 1800 | 1800
| 17 |  |  | Exhaust Fan EF-1 Manuf.: Greenheck Model: AE-12-433-A4 | 1 | 0% | 1 | EA | 870.28 | 870.28
Carnes Supply Diffusers/Grilles
| 18 |  |  | (24x24) Supply Diffuser A3 - 240 CFM | 47 | 0% | 47 | EA | 94.75 | 4453.25
| 19 |  |  | (24x24) Supply Diffuser A3 - 265 CFM | 44 | 0% | 44 | EA | 95.5 | 4202
| 20 |  |  | (24x24) Supply Diffuser A2 - 120 CFM | 3 | 0% | 3 | EA | 80 | 240
| 21 |  |  | (24x24) Supply Diffuser A3 - 300 CFM | 2 | 0% | 2 | EA | 96.5 | 193
| 22 |  |  | (24x24) Supply Diffuser A2 - 210 CFM | 68 | 0% | 68 | EA | 85 | 5780
| 23 |  |  | (24x24) Supply Diffuser A2 - 200 CFM | 30 | 0% | 30 | EA | 88 | 2640
| 24 |  |  | (24x24) Supply Diffuser A3 - 250 CFM | 12 | 0% | 12 | EA | 93.45 | 1121.4
| 25 |  |  | (24x24) Supply Diffuser A3 - 280 CFM | 35 | 0% | 35 | EA | 97.5 | 3412.5
| 26 |  |  | (24x24) Supply Diffuser A3 - 325 CFM | 16 | 0% | 16 | EA | 99.5 | 1592
| 27 |  |  | (24x24) Supply Diffuser A3 - 270 CFM | 11 | 0% | 11 | EA | 95 | 1045
| 28 |  |  | (24x24) Supply Diffuser A2 - 230 CFM | 13 | 0% | 13 | EA | 84.5 | 1098.5
| 29 |  |  | (24x24) Return Grille B1 | 3 | 0% | 3 | EA | 85.75 | 257.25
| 30 |  |  | Toilet Exhaust supply C1 - 75 CFM | 4 | 0% | 4 | EA | 65.99 | 263.96
Condensate Piping
| 31 |  |  | 1-1/2" Condensate piping | 966 | 3% | 994.98 | LF | 8.5 | 8457.33
| 32 |  |  | 1-1/4" Condensate piping | 608 | 3% | 626.24 | LF | 7.5 | 4696.8
| 33 |  |  | 2" Condensate piping | 235 | 3% | 242.05 | LF | 10.5 | 2541.525
Ducts
| 34 |  |  | (40x14) Rectangular Duct | 105.7 | 3% | 108.871 | LF | 48.5 | 5280.2435
| 35 |  |  | (38x12) Rectangular Duct | 207.18 | 3% | 213.3954 | LF | 42.5 | 9069.3045
| 36 |  |  | (26x12) Rectangular Duct | 270.83 | 3% | 278.9549 | LF | 34.5 | 9623.9441
| 37 |  |  | (20x12) Rectangular Duct | 177.04 | 3% | 182.3512 | LF | 36.5 | 6655.8188
| 38 |  |  | (14x12) Rectangular Duct | 207.37 | 3% | 213.5911 | LF | 26.35 | 5628.1255
| 39 |  |  | (20x10) Rectangular Duct | 86.3 | 3% | 88.889 | LF | 29.5 | 2622.2255
| 40 |  |  | (2x6) Rectangular Duct | 3.63 | 3% | 3.7389 | LF | 8.5 | 31.7807
| 41 |  |  | (12x6) Rectangular Duct | 1049.95 | 3% | 1081.4485 | LF | 18.5 | 20006.7972
| 42 |  |  | (12x10) Rectangular Duct | 688.3 | 3% | 708.949 | LF | 26.5 | 18787.1485
| 43 |  |  | (16x12) Rectangular Duct | 465 | 3% | 478.95 | LF | 28.5 | 13650.075
| 44 |  |  | (16x10) Rectangular Duct | 141.3 | 3% | 145.539 | LF | 25.5 | 3711.2445
| 45 |  |  | (16x8) Rectangular Duct | 36.46 | 3% | 37.5538 | LF | 24.5 | 920.0681
| 46 |  |  | (43x14) Rectangular Duct | 5.89 | 3% | 6.0667 | LF | 49.5 | 300.3016
| 47 |  |  | (30x12) Rectangular Duct | 40.9 | 3% | 42.127 | LF | 36.5 | 1537.6355
| 48 |  |  | (18x12) Rectangular Duct | 69.91 | 3% | 72.0073 | LF | 30.5 | 2196.2227
| 49 |  |  | (10x12) Rectangular Duct | 6.77 | 3% | 6.9731 | LF | 29.25 | 203.9632
| 50 |  |  | (24x12) Rectangular Duct | 94.85 | 3% | 97.6955 | LF | 31.5 | 3077.4082
| 51 |  |  | (10x10) Rectangular Duct | 826.96 | 3% | 851.7688 | LF | 28.25 | 24062.4686
| 52 |  |  | (36x12) Rectangular Duct | 130.02 | 3% | 133.9206 | LF | 44.5 | 5959.4667
| 53 |  |  | (8x8) Rectangular Duct | 129.7 | 3% | 133.591 | LF | 20 | 2671.82
| 54 |  |  | (12x12) Rectangular Duct | 149.85 | 3% | 154.3455 | LF | 27.5 | 4244.5012
| 55 |  |  | (10x8) Rectangular Duct | 215.33 | 3% | 221.7899 | LF | 22.3 | 4945.9148
| 56 |  |  | (28x12) Rectangular Duct | 51.49 | 3% | 53.0347 | LF | 35.5 | 1882.7319
| 57 |  |  | (22x12) Rectangular Duct | 169.28 | 3% | 174.3584 | LF | 37.5 | 6538.44
| 58 |  |  | (14x10) Rectangular Duct | 17.08 | 3% | 17.5924 | LF | 25.35 | 445.9673
| 59 |  |  | (32x12) Rectangular Duct | 13.81 | 3% | 14.2243 | LF | 38.5 | 547.6356
| 60 |  |  | (14x12) Rectangular Duct | 26.54 | 3% | 27.3362 | LF | 28.35 | 774.9813
| 61 |  |  | (18x10) Rectangular Duct | 53.85 | 3% | 55.4655 | LF | 25.67 | 1423.7994
| 62 |  |  | (19x12) Rectangular Duct | 9.4 | 3% | 9.682 | LF | 26.85 | 259.9617
| 63 |  |  | (32x14) Rectangular Duct | 35 | 3% | 36.05 | LF | 39.5 | 1423.975
| 64 |  |  | 10" Round Flexible Duct | 11.69 | 3% | 12.0407 | LF | 22.5 | 270.9158
| 65 |  |  | 8" Round Flexible Duct | 11.88 | 3% | 12.2364 | LF | 16.5 | 201.9006
| 66 |  |  | 6" Round Duct | 31.44 | 3% | 32.3832 | LF | 14.5 | 469.5564
| 67 |  |  | 10" Round Duct | 91.51 | 3% | 94.2553 | LF | 20.5 | 1932.2337
Miscallenous
| 68 |  |  | New room thermostat | 24 | 0% | 24 | EA | 165 | 3960
| 69 |  |  | Turning vanes | 34 | 0% | 34 | EA | 49.25 | 1674.5
| 70 |  |  | Elbows | 117 | 0% | 117 | EA | 125 | 14625
| 71 |  |  | Vibration isolators | 32 | 0% | 32 | EA | 317.74 | 10167.68
286 |  |  |  | TOTAL MATERIAL AMOUNT | [5 empty] | 633952.5519
287 |  |  |  | TOTAL LABOR AMOUNT ($6/SF) - Total 133980 SF (4 Floors) | [5 empty] | 803880
286 |  |  |  | TOTAL AMOUNT (Material +Labor) | [5 empty] | 1437832.5519
288 |  |  |  | Overhead and Profit (25%) | [5 empty] | 359458.138
289 |  |  |  | TOTAL BASE BID | [5 empty] | 1797290.6898
PROJECT: ARTHUR KILL LOT 100 SELF STORAGE FACILITY
ADDRESS: 4995 ARTHUR KILL ROAD BLOCK 7983, LOT 100 STATEN ISLAND, NEW YORK